Division: ……………………….      Audit Area: ……………………………………………  Location: …………………………….

| Sl. No. | PROCEDURE REQUIREMENT |  | OBSERVATIONS |  |  |
| --- | --- | --- | --- | --- | --- |
| Infrastructure available in Franchisee |  |  |  |  |  |  |
| 1 | Charger: Make, Model, Ratings | 4W |  |
|  |  | 2W (make: Metafab / Oil lube chargers) |  |
|  |  | Tubular |  |
| 2 | Load tester: Make, Model, Ratings | 4W (make: GVC) |  |
|  |  | 2W |  |
|  |  | Tubular |  |
| 5 | Multimeter: Make, Model, Ratings | The Service Provider instruments once in 3 months by using ARBL calibrated instruments readings as a reference and paste calibration sticker. |  |  |
| 6 | Check the adequacy on infrastructure, whether the available charger can handle their requirement or volume of batteries at Franchise |  |  |  |  |
| Battery charging |  |  |  |  |  |
| 1 | Charge the battery using standard specification only in CV mode (by using MF charger) |  |  |  |  |
| 2 | Set the charging current 10% of battery capacity. |  |  |  |  |

| Sl. No. | PROCEDURE REQUIREMENT | OBSERVATIONS |
| --- | --- | --- |
| 3 | Keep the batteries on charging up to 10-12hours |  |
| 4 | Conduct Load test: The current should be set at three times to the AH Capacity of battery. Load test carried out on GVC (GV-5) Load tester. |  |
| 5 | Procedure availability |  |
| Other observations |  |  |
| 1 | Warranty failures and Revival percentage's |  |
| 2 | Check the operator /technician awareness about procedure. |  |
| 3 | Records |  |
| 4 | FIFO |  |
| Suggestions: |  |  |

Please fill the observations in the Audit Finding column, as applicable.

Auditor sign                                                      Service engineer sign

Franchisee